# Slide 1 – Title

Smart Campus IoT Simulation and Analytics Platform

Course: Internet of Things | Master of IT

Supervisor: Dr. Ammar Zahary | Sana'a University

Team Members: 1. Osama Haider     2. Saba Al-wesabi

Date: July 2026

# Slide 2 – Problem and Scenario

Campus rooms need continuous monitoring (comfort, safety, energy).

Physical hardware is costly → we use Python simulation only.

7 virtual devices: Hall 1.1, Hall 1.2, Hall 1.3, Hall 1.4, Server Room, Lab 1, Office 1.

Sensors: temperature, humidity, occupancy, light level, air quality.

# Slide 3 – System Architecture

Layer 1 – Perception: Python virtual devices generate telemetry every 5 seconds.

Layer 2 – Network: MQTT publish/subscribe via HiveMQ broker.

Topic: campus/{building}/{room}/{deviceId}/telemetry

Layer 3 – Processing: Python subscriber validates and analyzes data.

Layer 4 – Application: Node-RED Dashboard shows live readings and charts.

Wireless model: IEEE 802.15.4 / Zigbee-like (packet loss, delay, RSSI, battery drain).

# Slide 4 – Simulation and MQTT Design

Each device publishes a JSON payload every 5 seconds.

Payload fields: deviceId, label, timestamp, temperature, humidity,

occupancy, light_level, air_quality, battery_level, status, wireless.

Zigbee-like simulation: 5% packet loss, 50–350 ms delay, RSSI, link quality, energy use.

Battery drains with each transmission → status becomes LOW_BATTERY below 20%.

# Slide 5 – Dashboard, Alerts, and Testing

Dashboard: temperature gauge, humidity gauge, occupancy gauge,

alert text widget, temperature history chart.

Alert Rules (5 rules):

• Temperature > 35°C → High temperature

• Occupancy = 0 AND light > 60 → Empty room with lights on

• Air quality > 120 → Poor air quality

• Humidity > 80% → Abnormal humidity

• Battery < 20% → Low battery

Test Cases: Normal data, Missing field, Abnormal temperature, Broker disconnection.

# Slide 6 – Results, Challenges, and Conclusion

Results: Full IoT workflow demonstrated without physical hardware.

MQTT wildcard subscription (campus/+/+/+/telemetry) handles all devices.

Zigbee-like model adds realistic low-power wireless behavior.

Challenges: Public broker dependency, simulated data realism.

Future work: Database storage, TLS authentication, web dashboard, predictive analytics.